## Slide 1: DCS & SCADA
Dr. Osama Al-Habahbeh
The University of Jordan
Mechatronics Engineering Department

## Slide 2
DCS and SCADA are industrial system controllers.
Both DCS and SCADA are monitoring and control systems used in industrial applications.
They monitor equipment and processes to ensure all processes and equipment are performing within the required tolerances and specifications.
DCS & SCADA

## Slide 3: Difference Between DCS & SCADA
  SCADA collects data from various sensors and monitoring equipment throughout a factory and sends it to a central computer for processing.
  In DCS, the controller elements are not centralized, but distributed throughout the factory.

## Slide 4: Difference Between DCS & SCADA
In terms of Reliability:
- DCS is more reliable than SCADA.
Since DCS controllers are distributed, a single industrial accident will not bring down the system.
- On the other hand, a single incident can cripple a SCADA-based system.

## Slide 5: Difference Between DCS & SCADA
In terms of Applications:
- With one computer as a central controller, SCADA is less costly and is therefore applicable for small-scale industrial systems.
- DCS is a better solution for larger, more complex and geographically dispersed systems where multiple, distributed controllers are essential.